**Exemption § 106.332 Checklist**

**(Previously Standard Exemption 81)**

**Chlorine Repackaging Facilities**

The following checklist has been developed so you and the Texas Commission on Environmental Quality (TCEQ) staff can confirm that Exemption § 106.332, previously standard exemption 81, requirements are met. Please answer all questions. You must meet all the requirements to operate the facility under Exemption § 106.332, previously Standard Exemption 81. **Any “no” answers indicate inability to meet all requirements of Exemption § 106.332, previously Standard Exemption 81.** If you do not meet all the requirements, you must obtain a construction permit in accordance with § 116.110 before you begin construction, or alter the facility design/package in such a way that all the requirements of the exemption are met.

For additional assistance with your application, including resources to help calculate your emissions, please visit the Small Business and Local Government Assistance (SBLGA) webpage at the following link: [www.TexasEnviroHelp.org](http://www.TexasEnviroHelp.org)

|  |  |  |
| --- | --- | --- |
| Have you confirmed that you meet the general requirements for the use of exemptions as listed in § 106.4 (attach checklist)? | [ ]  YES | [ ]  NO |
| Will all repackaging be into U.S. Department of Transportation approved chlorine cylinders with capacity less than or equal to one ton? | [ ]  YES | [ ]  NO |
| Are design and/or operational restrictions included to ensure that no more than two tons of chlorine will be on the property at any time? | [ ]  YES | [ ]  NO |
| **Attach a Description**. |
| Are Chlorine Institute Guidelines incorporated into the design and/or operation procedures? | [ ]  YES | [ ]  NO |
| **Describe How:** |
| Are the facilities located at least 300 feet from any recreational area, residence, or other structure not occupied or used solely by the owner or operator of the facilities or the owner of the property upon which the facilities are located? | [ ]  YES | [ ]  NO |
| Will the repackaging system be designed for and operated under vacuum at all times? | [ ]  YES | [ ]  NO |
| **Attach a Description.** |
| Are all vents of lines and cylinders routed to a caustic scrubbing system that prevents release of chlorine to the atmosphere during all operating and maintenance activities? | [ ]  YES | [ ]  NO |
| **Attach Table 13.** |
| Do you understand that when the scrubbing system is not operating, or not operating properly to the level of control in Table 13, no chlorine shall be repackaged? | [ ]  YES | [ ]  NO |
| Do you understand that chlorine gas shall not be vented to the atmosphere under any circumstances? | [ ]  YES | [ ]  NO |
| Name: |
| Company: |
| Title: |
| Facility Name: |
| Phone No.: | Fax No.: |