**Exemption § 106.477 Checklist**



**(Previously Standard Exemption 84)**

**Anhydrous Ammonia Storage Tanks and Distribution Facilities**

**Registration is required before construction of facilities covered by the exemption may begin!**

The following checklist has been developed so you and the Texas Commission on Environmental Quality (TCEQ) staff can confirm that Exemption § 106.477, previously standard exemption 84, requirements are met. Please answer all questions. You must meet all the requirements to operate the facility under Exemption § 106.477, previously standard exemption 84. **Any “No” answers indicate inability to meet all requirements of Exemption § 106.477, previously standard exemption 84.** If you do not meet all the requirements, you must obtain a construction permit in accordance with § 116.110 before you begin construction, or alter the facility design/package in such a way that all the requirements of the exemption are met.

For additional assistance with your application, including resources to help calculate your emissions, please visit the Small Business and Local Government Assistance (SBLGA) webpage at the following link: [www.TexasEnviroHelp.org](http://www.TexasEnviroHelp.org)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description** | | | | |
| Have you confirmed that you meet the general requirements for the use of exemptions as listed in § 106.4? | | YES | NO | N/A |
| Attach checklist | | | | |
| Does the facility design and maintenance plan provide for all hoses, valves, and connectors to be maintained in leak-proof condition at all times? | | YES | NO | N/A |
| Attach description. | | | | |
| Is the capacity of each storage tank less than 30,000 gallons? | | YES | NO | N/A |
| Are connections and return lines included in the design to ensure that all vapors associated with transferring ammonia are vented back to the host tank? | | YES | NO | N/A |
| Attach description. | | | | |
| Does the design provide effective means to relieve pressure from connectors and hoses into an adequate volume of water? | | YES | NO | N/A |
| Attach description. | | | | |
| Is each tank equipped with devices to prevent unauthorized operation? | | YES | NO | N/A |
| Attach description. | | | | |
| Is each tank located at least 1/4 mile from any recreational area, residence, or other structure not occupied or used solely by the owner of the property upon which the tank is located? | | YES | NO | N/A |
| Attach map. | | | | |
| Name: | | | | |
| Company: | | | | |
| Title | | | | |
| Facility Name: | | | | |
| Phone No.: | Fax No.: | | | |
| Email Address: | | | | |