Texas Commission on Environmental Quality

Dam Inspection Form

Inspection Results—Dam Conditions

Dam Name: ________________________________   Inventory No: _____________________________

Name of Inspector/s: ___________________________________________________________________

Name of Contact/s:  ____________________________________________________________________

Date of Inspection: _________ Start Time: ________ End Time: _________ Weather: _______________

Crest level (at center) above water: ________________________________________________________

Service spillway level ❑ Above or ❑ Below water: ___________________________________________

Emergency spillway level above water: ____________________________________________________

Ground Moisture Condition: ❑ Dry ❑ Damp ❑ Wet ❑ Snow ____ ❑ Other: _______________________

Crest of Embankment General Condition: ❑ Good ❑ Fair ❑ Poor   Width: _______________________

Problems Noted: ❑ None ❑ Rutting ❑ Erosion ❑ Poor Drainage   Height: _________________________

❑ Trees ❑ Depressions ❑ Bulges ❑ Livestock Damage ❑ Cracks   Length: ________________________

❑ Misalignment of Crest ❑ Misalignment of Utility Poles ❑ Misalignment of Fences or Rails ❑ Sinkhole ❑ Burrows ❑ Breached ❑ Other: _________________________________________________________

Comments: ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Upstream Embankment General Condition: ❑ Good ❑ Fair ❑ Poor Slope: ________________________

Problems Noted:  ❑ None  ❑ Rip-Rap  ❑ Erosion  ❑ Too Steep  ❑ Burrows  ❑ Trees  ❑ Cattails               ❑ Depressions  ❑ Bulges ❑ Livestock Damage ❑ Slides ❑ Concrete Decay ❑ Cracks ❑  Sinkhole

❑ Benching  ❑ Misalignment of Rip-rap ❑ Open Joints in Concrete

Comments: ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Downstream Embankment General Condition: ❑ Good ❑ Fair ❑ Poor   Slope: ____________________

Problems Noted: ❑ None  ❑  Sloughing  ❑  Erosion  ❑  Too Steep  ❑  Burrows  ❑  Trees  ❑  Cattails

❑ Depressions  ❑  Bulges  ❑  Livestock Damage  ❑  Slides  ❑  Concrete Decay  ❑  Cracks  ❑  Sinkhole

❑ Other:_______________________

Comments: _____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Seepage on Downstream Slope   Amount: ❑ Major  ❑ Moderate  ❑ Minor  ❑ None Found

Problems Noted:   ❑ None  ❑ Saturation Starts at ______________ % up Embankment

❑ Presence of Sediment in Flow   ❑ Cattails at Toe of Dam  ❑  Surface Water at Toe of Dam

❑ Seepage Associated with Sloughing  ❑ Continuous Flow   ❑  Sporadic Flow

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Downstream Hazard Conditions   ❑ Narrow Canyon  ❑ Wide Canyon  ❑ Lightly Sloping Prairie

❑ Pastureland   ❑ Large Trees and Forest  ❑ Brushy and Scrubby Forest  ❑ No Homes

❑ Lightly Populated  ❑  Moderately Populated  ❑ Densely Populated   ❑ Industrial  ❑ Businesses Estimated number of homes: ______________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Service Inlet Structure   General Condition: ❑Good  ❑ Fair  ❑ Poor

Problems Noted: ❑ None   ❑ Blockage  ❑ Not Located  ❑ Steel Corrosion  ❑ Concrete Spalling

❑ Concrete Cracking   ❑ Reinforcement Corrosion   ❑ Missing Parts  ❑ Timber Decay

❑ Leakage Below Water Level   ❑ Inoperable Valve  ❑ Other:___________________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Service Outlet Structure   General Condition:  ❑ Good   ❑ Fair   ❑ Poor

Problems Noted:  ❑ None   ❑ Blockage  ❑ Not Located  ❑ Corrosion of Conduit

❑ Presence of Sediment in Flow   ❑ Inaccessible   ❑ Concrete Cracking   ❑ Concrete Spalling

❑ Reinforcement Corrosion  ❑ Misalignment of Walls/Slabs   ❑ Open Joints

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Service Spillway   Condition: ❑ Good   ❑ Fair   ❑ Poor      Depth: ____________________

Width: _____________________

Problems Noted: ❑ None   ❑ Blockage   ❑ Not Located   ❑ Trees   ❑ Burrows   ❑ Back-Cutting Erosion

❑ Inaccessible   ❑ Livestock Damage   ❑ Concrete Cracking   ❑ Concrete Spalling

❑ Reinforcement Corrosion   ❑   Damaged Water-stops   ❑ Open Joints   ❑ Sinkholes

❑ Holes in Spillway Chute   ❑  Seepage   ❑ Misalignment of Walls/Slabs  ❑ Damaged Gates

❑ Nonfunctional Gates   ❑ Lubrication of Gates   ❑ Testing of Gates

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Emergency Spillway   Condition:  ❑  Good   ❑  Fair  ❑  Poor   Depth: __________________

Width: __________________

Problems Noted: ❑ None ❑ Blockage ❑ Not Located ❑ Trees ❑ Burrows ❑ Back-Cutting Erosion

❑ Inaccessible ❑ Livestock Damage ❑ Concrete Cracking ❑ Concrete Spalling

❑ Reinforcement Corrosion ❑ Damaged Water-stops ❑ Open Joints ❑ Sinkholes

❑ Holes in Spillway Chute ❑ Seepage ❑ Misalignment of Walls/Slabs ❑ Damaged Gates

❑ Nonfunctional Gates ❑ Lubrication of Gates ❑ Testing of Gates

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Other Items ❑ Major road along crest of dam ❑ Private road or driveway along crest of dam

❑ Vehicle bridge along crest of dam ❑ Culverts built into crest of dam

❑ Pipeline immediately downstream from dam - Type of pipeline: ________________________________

❑ Water supply line in crest of dam ❑ Other: _________________________________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Repair Items Ranked by Priority

Item 1: ________________________________________________________________________________

Item 2: ________________________________________________________________________________

Item 3: ________________________________________________________________________________

Item 4: ________________________________________________________________________________

Security Issues ❑ Vehicle Accessible ❑ Vehicle Gates ❑ Vehicle Fences and Railing

❑ Pedestrian Accessible ❑ Pedestrian Gates and Fences ❑ Obscured from Surveillance ❑ Locks

❑ Breaches in Fence ❑ Evidence of Parties ❑ Graffiti ❑ Security System

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Operational Procedures ❑ SOP Available    Location Kept: ____________________________________

❑ Logbook Location of Logbook: __________________________________________________________

❑ Major Events Noted ❑ Staff Training

Topics of Training: ______________________________________________________________________

❑ Manual Gate Operations ❑ Powered Gate Operations ❑ Automated Gate Operations

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Communications  ❑ Directory Available ❑ 24-Hour Coverage ❑ Telephone Available at Dam

❑ Cell Phone Coverage—Provider: _________________________________________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Emergency Action Plan   ❑  Available  ❑ Filed with TCEQ  ❑ Change in Downstream Hazard

Frequency of Update: _____________________________ Date of Last Revision: ____________________

Date of Last Exercise: _____________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Instrumentation  ❑ Present  ❑ Adequately Maintained ❑ Inadequately Maintained  ❑ Operational

❑ Data Collected  ❑ Data Analyzed  ❑ Adequately Protected

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Early Warning System  ❑ Present  ❑ Adequately Maintained  ❑ Inadequately Maintained  ❑ Operational

Frequency of Maintenance: _______________________________________________________________

Date of Last Exercise: ___________________________________________________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Reservoir Drawdown Capability   Method of Drawdown: ______________________________________

Maximum Drawdown: _______________________ c.f.s. Frequency of Testing: _____________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

Backup Power  ❑ Present ❑ Adequately Maintained ❑ Inadequately Maintained ❑ Operational

Frequency of Maintenance: _______________________________________________________________

Date of Last Exercise: ___________________________________________________________________

Comments: ____________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________